### Installation Manual of SpinStudioJ

### 1. Brief introduction for SpinStudioJ

SpinStudioJ is an NMR software based on Eclipse RCP(Rich Client Platform) framework, it offers general functionalities about instrument control, data acquisition, data processing and data analysis. Plug-in architecture based on Eclipse RCP is highly flexible and extensible for the integration of new hardware components and data processing algorithms. Existing third party RCP based plug-ins also can be easily integrated into the software system. Extension point is the general extension mechanism provided by RCP framework.

### 2. Supported platforms

  - Windows 64bit

  - Linux

  - Unix

  - Mac OSX

### 3. Supported data types

  - SpinStudio

  - SpinStudioJ

  - varian

  - bruker

### 4. Software directory lists

SpinStudioJ

|--configuration				Plugin configuration.

|--features					Plugin management.

|--jre						Java runtime environment.

|--logs						Log information

|--p2

|--plugins						Software plugins.

|--readme					Instructions

|--system						System directory.

|--config					Software configuration directory.

|--data					All kinds of data system needed.

|--auto				Templates of automated experiment.

|--automation			Automation.

|--database		Database for automation.

|--template		Templates for automation

|--exp_list.xml		Experiment list of automation.

|--database			System database.

|--pslib				Library of pulse sequence.

|--shapelib			Library of shape pulse.

|--solvents			Solvent list.

|--template			Experiment templates.

|--artifacts.xml

|--SpinStudioJ.exe				executable file.

|--SpinStudioJ.ini

### 5. Download

  - 5.1 Download the NMR software from http://www.qone-inst.com/spinstudioj

Figure 1. Table for downloading

  - 5.2 Unpack the downloaded file.

Figure 2. Unpack downloaded file

### 6.Usage steps

6.1 Launch the software.

Enter the unzipped folder and double click the executable file “SpinStudioJ”, and then the login dialog will display in the screen.

Figure 3. Launch SpinStudioJ

Figure 4. The login dialog

6.2 Login

Use the default user name and password, then click button "OK", and then the root path can be chosen.

Figure 5. Choose the root path

6.3 Choose Root Path

Click “Browse” button to choose a directory as root workspace path. Then Click button "OK", the main window of SpinStudioJ will display.

Figure 6. The main window of SpinStudioJ

6.4 Import the NMR data

Click“File/Import” in the main menu, and then SpinStudioJ will popup a dialog.

Figure 7. Open the NMR data

6.5 Choose NMR data

Click "Browse" button to choose the data directory, and then select the data you need to import, as well as select the target path; then Click button "Finish".

Figure 8. Dialog for import NMR data

Notes: Click "Browse" button to choose the data directory. SpinStudioJ supports data type: SpinStudio, SpinStudioJ, Varian and Bruker, other data formats will be supported in the future. NMR data of SpinStudioJ’s format(the file names end with “.nmr”) can be copied to user’s data directory, and then the NMR data will be displayed in the view of data navigator.

6.6 Open the NMR data

Double click the NMR file in the view of data navigator, and then the NMR data will be displayed in the main window.

Figure 9. The FID of an NMR data

6.7 New experiment

Click the button in the toolbar:, then SpinStudioJ will popup a dialog.

Figure 10. New experiment

6.8 fast Fourier transform

Input “ft” command in the command line at the bottom of the main window.

Figure 11. Input “ft” command

6.9 Interactive phase correction

Click the button in the toolbar: , then SpinStudioJ will switch to manual phase correction mode.

Figure12. Interactive phase correction status

- Zero-order phase correction: move cursor above the button，and scroll the middle wheel of the mouse to correct zero-order phase.

- First-order phase correction: move cursor above the button，and scroll the middle wheel of the mouse to correct first-order phase.

- Reset

- Increase the phase by 90°

- Decrease the phase by 90°

- Revert the zero-phase

- Increase mouse sensitivity

- Decrease mouse sensitivity

- Save

- Exit

6.10 Automatic phase correction

Input “aph” command in the command line at the bottom of the main window.

Figure 12. Input “aph” command

Figure 13. The spectrum after automatic phase correction

6.11 Baseline correction with polynomial fitting

Click the button in the toolbar: , then SpinStudioJ will switch to baseline correction mode.

.

Figure 14. Baseline correction with polynomial fitting

6.12 Spectrum calibration

Click the button in the toolbar: , then SpinStudioJ will switch to manual spectrum calibration mode.

Figure 15. Spectrum calibration

Other data process and analysis functions:

Manual peak picking

Interactive integration

Multiple display

Distance measurement

Display of arrayed data

Set center freq of the spectrum

Set spectrum width

Eliminate t1 noise

Show full FID/spectrum

Zoom in

Zoom out

Undo

Redo

Move left

Move right

Move up

Move down

To the leftest position

To the rightest position

To the top position

To the bottom position

Illustration

Show contour